## Front page
Girlguiding
Fire risk assessment
Location: | Ladenford Den
Date of FRA: | 2022-04-22
Carried out by: | Carol Edwards
Property description: | Ladenford Den is the County Campsite of Girlguiding Angus. Safety within the hut and campsite is managed by the Ladenford Committee, the chair of Ladenford Committee being the responsible person. The hut consists if a single building of timber construction. The space is sub divided into the following rooms:- • Main hall • Two sets of toilet/shower facilities • Leader’s Room • Kitchen • Access hallway • Campstore • Outside steps The hut is regularly used for indoor holidays, training activities and day events. The head count varies dependent on the activity but may range from 10 to 26 including leaders and other adults. This number can increase for short periods when parents are present to collect children.

## Summary
Girlguiding fire risk assessment form
To be completed by Assessor | Name/area: | Ladenford Den
| Name of person conducting assessment | Carol Edwards | Signature Signed on original
| Contact telephone no. and email address | Ladenford@girlguidingangus.org.uk | Tel:07903122714
| Name of company responsible for this area | Girlguiding Angus
| Name of responsible person | Carol Edwards
| Persons consulted | Angus Fire Service
| Date of assessment | 2022-04-22 | Re-assessed June 2025
| Fire risk assessment scoring |  | A | B | C | D | E
|  |  | Risk of ignition | Items that may burn | Means of escape | Management control | Testing & maintenance control
| Fire risk assessment example |  | 0 | 0 | 0 | 0 | 0
| Scores at these levels or higher must be reported to the H&S manager |  | 5 | 5 | 5 | 5 | 5
| Residual risk (circle one only) where medium or above is recorded the head of property must be notified. |  | Low |  | Medium |  | High
Now go to action points!
Summary: Risk is considered to be low, this site is managed very well

## General
General Information
| Question | Please delete items that are not applicable and apply additional information as required
G1. | Use of premises | residential events by members of Girlguiding and Scouting
G2. | Persons who may use the premises | Any trained leader of either organisation
Floor space factors
G3. | Staff/groups that require additional consideration (people with disabilities and long-term conditions) | Groups hiring Ladenford may include members with disabilities. They will be considered in the groups own RA
G4. | Details of construction | wooden hut
G5. | Details of internal linings | wood
G6. | Approximate floor area m² per floor or total floor area m²
Girlguiding | Number of floors | one
G8. | Number of Stairs | steps up to entrance door
G9. | Hours of operation | periodic
G10. | Users of the associated space and further information relating to the space
G11 | Areas not included within this fire risk assessment but have been subject to an independent FRA,
G12 | Smoke ventilation
G13 | Emergency Lighting | installed by Ness Electricals/checked 2025 by Jim Batchelor
G14 | Smoke Curtains/Fire Shutters | none
G15 | Date carried out
G16 | Dry Risers | none
G17 | Fire Fighting Access
G18 | Fire loss experience | none
G19 | Other relevant information: Have previous risk assessments been revised or reviewed as part of this fire risk assessment? | yes previous RA dated 2017 now updated on installation of new smoke alarm system. RA updated annually if any changes.

## Ignition
Section A - IGNITION
Property
Ref | Section A | Sources of ignition? | Advice | PREF ANS | Yes/no/ NA | Risk scoring | Comments | Action required | Date completed
A1 | Smoking, smokers materials, cigarette ends, matches etc. | Is there a no smoking policy & is it being enforced? | Smoking is not allowed inside any building or vehicles belonging to Girlguiding. |  | Yes | 0 |  |  | 2025-06-01
|  | Is smoking only allowed in designated areas? | No smoking is allowed on any part of Ladenford Den grounds | YES | NA | 0 |  |  | 2025-06-01
|  | Are metal ashtrays and containers provided within smoking area? | N/A | YES | NA | 0 |  |  | 2025-06-01
|  | Is smoking waste disposed of sensibly and not with general waste? | N/A | YES | NA | 0 |  |  | 2025-06-01
|  | Are notices posted of smoking arrangements and prohibitions? | Yes | YES | Yes | 0 | No smoking signs displayed |  | 2025-06-01
| Total |  |  | 0 |  | 0
A2 | Naked flames | Freestanding mulit fuel stove in main hall | Fireguard in situ, use of fire supervised by leaders at all times,chimney swept annually, appliance will be very hot while in use so use fire resistant glove supplied, do not store wood close to stove ie. within fire recess | YES | yes | 0 | Installation and operating instruction booklet can be found in purple folder. All users should read this booklet. Stove newly installed in June 2025 by Andrew Soutar of Forfar. | Chimney to be swept in June annually. | 2025-06-01
|  | Campfires/cooking fires outside the premises | Fires supervised, participants to be trained in fire safety, fire buckets in situ at fires. | YES | yes | 0 |  |  | 2025-06-01
| Total |  |  | 30 |  | 0
A3 | Electric Immersion heater in hot water tank | Is it inspected and serviced at suitable intervals as required by the manufacturer and legislation? | This equipment should be serviced at the intervals recommended by the manufacturer, to ensure that it works properly. There should be an annual test/service certificate provided by the service engineer, confirming it is safe to use. | YES | yes | 0 |  | Immersion heater checked as part of EIRC carried out | 2025-06-01
|  | All fuses or circuit breakers of the correct rating and suitable for purpose? | Checked at each 5 year inspection. | YES | Yes | 0 |  |  | 2025-06-01
|  |  |  | 12 |  | 0
A4 | Portable heaters | Electric heater in leaders room PAT tested | PAT testing should be carried out as per guidelines. Regular visual checks should be made by users. | YES | yes | 0 |  |  | 2025-06-01
|  | Portable heaters turned off after use. | Portable heaters should never be left on when no one is around. | NA | Yes | 0 |  |  | 2025-06-01
| Total |  |  | 4 |  | 0
A5 | Machinery and equipment | Strimmer and electric extension cable stored in camp store | Instructions for use kept with device. Strimmer only to be used by adults/committee members | YES | Yes | 0 | Warning signs displayed |  | 2025-06-01
|  | Is it subject to routine maintenance by a competent person? | Strimmer and electric extension cable PAT tested annually. Extension cable to be fully unwound when being used oudoors as per manufacturers instructions. | YES | yes | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
A6 | Ventilation system | None in this building. |  | YES | NA | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
A7 | Friction, ie worn bearings, slipping belts etc | No equipment on site likely to give rise to friction. |  | YES | NA | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
A11 | Cooking | There are two electric cookers plus a microwave oven in the kitchen and gas stoves may be used on campsite all included in RA | Buildings will have cooking equipment in kitchens. There are external areas (campfire circle & portable altar fires) where cooking takes place. There is a wooden shelter (camp kitchen) suitable for setting up portable gas stoves. | Yes | yes | 0 | Cookers should be switched off at the wall when not in use. |  | 2025-06-01
|  | Cooking only allowed in specific and suitable areas, namely kitchen, outdoor altar fires and wooden camp site shelters. | Cooking is only allowed in specific areas in buildings. Where there are events, cooking is carried out externally and placed in areas well away from combustible material. | YES | Yes | 0 |  | • Cooking fires only to be used in designated areas • Fire buckets containing clean water always present • Leaders to train users in fire safety and supervise as appropriate for age • All users to be aware of fire extinguisher/sand buckets in the campstore | 2025-06-01
| Total |  |  |  |  | 0
A12 | Electrical supplies and equipment. Faulty/misused electrical equipment. Lighting equipment. | All electrical installations apparently installed by competent persons. | Only qualified competent persons can carry out electrical installations. | YES | yes | 0 |  |  | 2025-06-01
|  | Are fixed electrical installations and equipment subject to routine testing and inspection by a competent person? | Fixed electrical installations are required to be inspected every 5 years for most buildings. | YES | Yes | 0 | Inspection due in June 2027 |  | 2025-06-01
|  | All portable equipment subject to PAT regime. | This can be carried out by a competent person who has had the necessary training to carry out PAT testing. | YES | yes | 0 | Carried out annually |  | 2025-06-01
|  | All fuses, circuit breakers etc of correct rating and suitable for purpose. | This is beyond the scope of this fire RA, however, competent electrical contractors should be ensuring that they comply with current approved codes of practice (up to 18th edition at present as from 02/07/2018). | YES | NA | 0 |  |  | 2025-06-01
|  | All fixed electrical equipment subject to maintenance regime by competent person. | All contractors used are required to be qualified for the type of property being operated (commercial), and regular checks carried out with contractors to ensure they maintain their competency. | YES | NA | 0 |  |  | 2025-06-01
|  | All fixed electrical equipment inspected in accordance with legislation. | As detailed above. | YES | Yes | 0 |  |  | 2025-06-01
|  | All faulty electrical equipment switched off and isolated while awaiting repair or replacement. | Not isolating the equipment could result in persons who do not know it is faulty switching it back on, which could result in a fire. If the equipment is beyond repair the plug should be cut off it to prevent it being used. | YES | na | 0 |  |  | 2025-06-01
| Total |  |  | 70 |  | 0
A13 | Static electricity | No apparent risks from static discharge. | Static can build up under certain circumstances, depending on the types of materials used and activities taking place. | YES | NA | 0 |  |  | 2025-06-01
|  | Adequate earth bonding to discharge static electricity safely. | Electrical systems can be bonded to ensure any build up is discharged safely, especially important where there are flammable materials being used or dispensed. | YES | NA | 0 |  |  | 2025-06-01
| Total |  |  | 20 |  | 0
A14 | Lighting equipment | Lighting so arranged that heat from the bulbs cannot give rise to a fire. | Care must be taken to prevent the storage of combustible material near lights. | YES | Yes | 0 |  |  | 2025-06-01
| Total |  |  | 10 |  | 0
A15 | Arson | Substantial security measures in place to guard against unauthorised entry. | Where possible security should be in place to prevent access to buildings, including the outside. | YES | Yes | 0 | All doors are locked with mortice key. |  | 2025-06-01
|  | Restricted access to unmanned areas. | Ideally unmanned areas should be locked. | YES | Yes | 0 | All doors are locked with mortice key. |  | 2025-06-01
|  | Restricted access to site. | Management plan to consider how to manage trespassing. | YES | Yes | 0 | Gate is locked, fence has barbed wire. Position of gate altered several years ago to reduce risk of trespassers in cars. |  | 2025-06-01
| Total |  |  | 30 |  | 0
|  | Scoring: Any individual score of 2 must be addressed immediately |  |  | Total | 0
Low risk
Medium Risk
High risk
0-3
4-6
7-10

## Burn
Section B - What can burn? (Fuel, oxygen, gases/fire loading hazards)
Ref | Section B | Question | Advice | PREF ANS | YES/NO /NA | Risk scoring | Comments | Actions required | Date completed
B1 | Flammable liquids, solvents, gases and fuel etc. | Are there no highly flammable substances, liquids or gases in the area other than small quantities of aerosols? | Only quantities for the day's work should be available in the workplace. Substances need to be stored in closed containers. Unused material should be removed to an approved store. |  | yes | 0 |  |  | 2025-06-01
|  | Are only minimal quantities held? |  | YES | yes | 0 |  |  | 2025-06-01
|  | Are the flammable substances stored correctly? | Flammable substances should be stored correctly as per H&S guidelines. | YES | NA | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
B2 | Waste materials | Waste to be removed to bins in car park each day or after hire period is ended | Waste should be removed daily. | YES | yes | 0 | Bins provided throughout the buidling with notices re emptying them and re-cycling |  | 2025-06-01
|  |  | Bins should be emptied regularly where they are prone to becoming full, and floors, surface tops, ventillation fans, and windows should be free of dirt and dust. | YES | yes | 0 |  |  | 2022-04-01
| Total |  |  |  |  | 0
B3 | Wood | Are there no significant quantities stored? |  | YES | yes | 0 |  |  | 2025-06-01
|  | Are the quantities stored in specific areas with low fire risks? | Wood should never be stored next to buildings or in areas where there are ignition sources, and other fuel, such as gas or heating oil etc. | YES | yes | 0 | New wood store installed April 2022 away from building | Regularly check that wood is not being stored under the veranda as had been done previously | 2025-06-01
| Total |  |  |  |  | 0
B4 | Paper & cardboard | Small amount of craft paper/supplies stored in hall cupboard. Paper towels stored in plastic box in hallway. | This may be used for activities, and should be stored in cupboard. | YES | yes | 0 |  |  | 2025-06-01
|  | Are the quantities stored in specific areas with low fire risks? | Storage areas should be in areas where there is low risk of ignition, not too close to any lighting or electrical equipment. | YES | yes | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
B6 | Textiles | A small quantity of blankets/sleeping bags are stored in the cupboard in the Leaders room. | Where bedding and other materials are stored the amount should be minimised to the level of useage by customers. | YES | yes | 0 |  |  | 2025-06-01
|  | Are the quantities stored in specific areas with low fire risks? |  | YES | yes | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
B7 | Flammable gases | There is no gas on site. |  | YES | NA | 0 |  |  | 2025-06-01
|  | Campsite users may bring their own gas stoves or similar and their own bottles of gas to use in the outdoor open fronted shelters. | General RA to be updated with advice on gas use and storage and the provisoin on fire fighting equipment. Users are responsible for risk assessing their own activities. | YES | yes | 0 | Notice in camp store re gas safety along with a fire blanket for use in camp kitchen |  | 2025-06-01
| Total |  |  |  |  | 0
B8 | Board walls and ceilings including hardboard, blockboard, chipboard etc. | Are walls and ceilings apparently constructed of fire retardant material? | Where there is fire compartmentalisation within the building, materials used for this must be made from fire retardent material, at least 30 min fire stopping. | YES | yes | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
B9 | Furniture including fixtures & fittings, decorations & artificial flowers & shrubs. | Is furniture apparently constructed of fire retardant material? | Furniture should comply with a number of British standards BS 7177, BS 5867 and BS EN 1101 and 1102. | YES | yes | 0 | Mattressess have BS7177 labelling in situ |  | 2025-06-01
|  | Is furniture well maintained? | The furniture should be kept clean and is of sound structure. Check for deterioration of the furniture, such as exposure of the frame, threadbare etc. | YES | yes | 0 |  |  | 2025-06-01
|  | Is the furniture purchased to suitable quality & specifications? | All furniture must comply with the Britich standards for fire retardency. | YES | yes | 0 |  |  | 2025-06-01
|  | Are all decorations fire proof & removed after the event? | Hut users must ensure decorations are either purchased with fire proofing or fire proofed using appropriate fire proofing sprays. | YES | yes | 0 | No decorations are present at Ladenford. Any brought in will be part of users RA |  | 2025-06-01
| Total |  |  |  |  | 0
B10 | Synthetic wall & ceiling coverage such as polystyrene tiles. | Are all synthetic wall and ceiling coverings fire retardant and maintained in good order? | Some synthetic wall and ceiling coverings are not fire retardent and if they catch fire can give off harmful smoke. | YES | NA | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
B11 | Natural airflow | Is there a strict regime of fire doors etc remaining closed and where necessary locked? | Fire doors must remain closed or locked to prevent spread of fire. | YES | yes | 0 |  |  | 2025-06-01
|  | Are all doors, windows and other openings kept closed when not in use and after hours? | Doors and windows should be closed, when they are not being used. | YES | yes | 0 |  |  | 2025-06-01
0
B12 | Air conditioning & air handling | Is there no air conditioning or air handling on site? | Where there is air handling systems/air conditioning in place, special provision needs to be taken to ensure that fire is not spread through these systems. | Yes | NA | 0 |  |  | 2025-06-01
|  | Is kitchen ductwork equipment kept clean? | Build up of fats and dirt in ducts can result in the spread of the fire. | YES | yes | 0 | part of annual clean |  | 2025-06-01
|  | Are kitchen ductwork and ventilation equipment serviced and maintained? | It is essential that kitchen duct work is deep cleaned at least every 12 months, and automatic shut downs are serviced and tested regularly. | YES | yes | 0 | Cooker has domestic hood, not ducted to outside |  | 2025-06-01
| Total |  |  |  |  | 0
B13 | Oxidising agents and materials | Are there no oxidising agents or materials on site? | Oxidising agents can produce oxygen as part of a chemical process which can make a fire worse. | YES | yes | 0 |  |  | 2025-06-01
|  | Are oxidising materials subject to COSHH regime, used and stored appropriately? | Oxidising agents are part of the normal COSHH regime, however special consideration must be made with regard to storage, mixing with other products. | YES | NA | 0 |  |  | 2025-06-01
|  | Are oxidising agents clearly identified on their containers? | All chemicals must be labelled, to prevent misuse. | YES | NA | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
|  | Scoring: Any individual score of 2 must be addressed immediately |  |  | Total | 0
Low risk
Medium risk
High risk
0-3
4-6
7-10

## Escape
Section C - Escape (safe egress time)
Ref | Section C | Question | Advice | PREF ANS | YES/NO/NA | Risk scoring | Comments | Actions Required | Actions Completed
C1 | Means of escape | Are all occupants able to escape to a place of safety within a reasonable time? | Means of escape is a continuous and unobstructed path of travel from any point in the building to a place of safety. The principle evacuation strategy is one of simultaneous evacuation via the nearest final emergency exit. | YES | Yes | 0 | Emergency exit door in main hall, plus exit via corridor (both ends) and back door. All marked on Fire Plan |  | 2025-06-01
|  | Are there enough exits provided, in the right place and alternative routes available should one be affected by fire? | There should be at least two exit routes. Fire protected routes are provided for buildings where there is only one way to get off the floor. | YES | Yes | 0 |  |  | 2025-06-01
|  | Are the types and sizes of exits suitable and sufficient for the number of people likely to need to use them (eg wide enough for wheelchair users)? | Some of the buildings are not suitable for persons in wheelchairs, and therefore, it would be expected that wheelchair users will be allocated suitably provisioned rooms on the ground floor, of properties. | YES | Yes | 0 |  |  | 2025-06-01
|  | Are the final exit doors operating correctly (this is the last door to the place of safety)? | Final exit doors must be unlocked when the premises are in use. Security locked final exits must release on activation of the fire alarm or be fitted with a single action opening device (eg push-bar or pad). | YES | yes | 0 | final exit doors that need to be locked overnight for security reasons have keys available either hanging on chain or key left in the lock at the front door with sign asking users to leave key in lock. |  | 2025-06-01
|  | Are all escape routes clearly identifiable, free from obstruction and adequately illuminated? | Fire exit routes should be identified by the green and white 'running man', with arrows. Pictograms with additional text signage should clearly indicate the direction of travel. Illuminated signage improves viewing distances. Fire exit routes must never be obstructed. Obstructions may include furniture, delivered goods or goods awaiting collection. Also included is anything that could cause a slip (eg water leak). A procedure should be in place to manage fire exit routes daily through GAs checking corridors, doors and final exit doors, as part of their routine duties. | YES | yes | 0 | All exit doors and routes are marked with illuminated signs. |  | 2025-06-01
|  | Can fire exit signage be clearly seen from all areas? | You should be able to see at least one emergency exit sign from anywhere within the area. | YES | yes | 0 |  |  | 2025-06-01
|  | Is there a clearly identifiable assembly point located well away from the building? | Notices at the breakpoints should indicate where the assembly point is. If possible signage should be placed in the designated assembly area. (This is not always possible in built up areas). | YES | yes | 0 | This is the flagpole on the camp site |  | 2025-06-01
|  | Is a reasonable standard of emergency lighting provided? | The minimum requirement for emergency lighting installations should be provision on emergency exit routes, and external lighting if there are no street lights. Emergency lighting should be sufficient to allow an individual to escape via the nearest exit. If no emergency lighting is provided, torches should be available to staff to guide customers out. | YES | yes | 0 | Emergency lighting is provided. | Emergency lighting tested as part of the check out procedure, generally every week. | 2025-06-01
| Total |  |  |  |  | 0
C2 | Means of escape for those with disabilities or long term conditions | Do plans & provisions take into account those with disabilities and long term conditions - including wheelchair access, safe havens, hearing and visual impairments and learning disabilities? | Some buildings require additional measures for ensuring the safe evacuation of all occupants, this includes refuges in fire protected areas, additional visual aids such as strobes on detectors to indicate alarm activations. Any evacution plan must ensure that all persons can be evacuated safely by the property management. | YES | yes | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
C3 | Alarm systems | Is a fire alarm system installed? | The area may have combined optical smoke and heat detection that provides L1/M level of detection. This woud be present at high level on ceiling tiles and roof voids. There may be low level detection in all periphery areas and storage areas, and in all corridors and toilets for sleeping accommodation. | YES | yes | 0 | New wireless interlinked smoke alarm system and heat detector for the kitchen installed in April 2022 |  | 2025-06-01
|  | Are fire alarm call points and break glass units clearly visible? Are fire action notices displayed? | Record if manual call points (MCPs) are located on escape routes. MCPs must be mounted in conspicuous positions on fire exit routes and by the final fire exit door. In public areas MCPs must be protected by screecher flap covers. Fire action notices should be up to date and display assembly point information as a minimum. | YES | yes | 0 | Fire plan and action notices are displayed in main hall and on notice board in the hallway. New manual call points installed in April 2022. |  | 2025-06-01
| Total |  |  |  |  | 0
C4 | Fire prevention systems | Are sprinklers installed? | Sprinklers will typically be found in fire engineered rooms or some retail stock rooms and store rooms. Check to ensure goods are not stored in close proximity or or that they've been painted over. | NA | NA | 0 |  |  | 2025-06-01
|  | Is a smoke control system installed? | The installed system extracts smoke from within specific areas such as concourses, emergency stairs wells. | NA | NA | 0 |  |  | 2025-06-01
|  | Is kitchen ductwork provided in the area (if applicable)? | Within a number of properties kitchen ductwork will be provided. For simple kitchens in small buildings, baffle plate hoods may be provided. There should be automatic shut down of this ductwork in commercial kitchens, linked to the alarm and gas supply. | YES | NA | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
| Scoring: Any individual score of 2 must be addressed immediately. |  |  |  | Total | 0
Low risk
Medium risk
High risk
0-2
3-5
6-10

## Management control
Section D - Management control
Ref | Section D | Fire procedure and training | Advice | Prefered answer | YES/NO/NA | Risk score | Comments | Actions required | Date completed
D1 | Fire procedure & emergency plan | Is there an evacuation management plan for the building? | A comprehensive plan should be held by the management, which includes roles and responsibilities. For most buildings this will be held in the office with the duty manager and should be current for the area. The evacuation plan is unique to each building on site, but there will be generic similarities with general procedures eg how to call the fire brigade etc. Groups using the self catering facilities should get the full procedure, so they understand what to do, who to contact and how. Procedures on what to do will be provided in each. | Yes | yes | 0 | This is part of the Fire Management plan |  | 2025-06-01
|  | Does the emergency plan take into account all foreseeable circumstances and other emergencies (such as floods, gas escapes etc)? |  |  | na | 0 |  |  | 2025-06-01
|  | Is the emergency plan made available to all those who need to be aware of it such as for self catering facilities, and groups? |  |  | yes | 0 | Available on website |  | 2025-06-01
|  | Are procedures to be followed clearly indicated throughout the building? |  |  | yes | 0 |  |  | 2025-06-01
|  | Is consideration given to all people likely to be present in the facilities & buildings? |  |  | yes | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
D2 | Training in fire procedure & emergency plan | Are all employees familiar with plan, and trained in its use, and involved in testing it? | No employees. Users of Ladenford are provided with the Fire RA, fire management plan and are responsible for carrying out a fire drill on arrival at the premises. Each group using the premises are required to carry out a fire drill. |  | yes | 0 |  |  | 2025-06-01
|  | Has a fire evacuation drill (or actual evacuation) been carried out in the last 6 months? |  |  | yes | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
D3 | End of day safety checks | All windows and doors are closed, including doors held open by automatic release units. | All doors are required to be closed and checked that they're operating properly, including those with automatic door releases. Door furniture should function properly and be checked to ensure that it's not loose. |  | yes | 0 |  |  | 2025-06-01
|  | Electrical equipment not in use is switched off, and where appropriate, unplugged. | Where electrical equipment is not in use, this should be switched off. |  | yes | 0 |  |  | 2025-06-01
|  | Smokers materials are not left smouldering and ash trays are left in a safe location. | Look for rubbish build up, paper and boxes poorly stored. Look for dust and general untidiness. Check behind cupboards and in electrical cupboards. Check for flammable liquids not stored appropriately. Check that storage cupboards are locked if appropriate. ensure that all emergency signage is still in place. |  | na | 0 | No smoking is allowed. |  | 2025-06-01
|  | All naked flames are extinguished or left in a safe condition. |  |  | yes | 0 | Care should be taken when using the stove in the main hall. |  | 2025-06-01
|  | All flammable rubbish and waste is removed to a safe place. |  |  | yes | 0 |  |  | 2025-06-01
|  | All highly flammable materials are stored in a safe location. |  |  | na | 0 |  |  | 2025-06-01
|  | The workplace and storage areas are secured against unauthorised entry. |  |  | yes | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
D5 | Fire awareness and emergency procedures training | Are they aware of the location and use of fire fighting equipment? | Users should be provided with this information. |  | yes | 0 | Fire plan on display with fire fighting equipment marked |  | 2025-06-01
|  | The action to take on discovering a fire. | Refresher training should be carried out at regular intervals to ensure staff know what to do on discovering a fire. |  | yes | 0 | See Fire Management plan |  | 2025-06-01
|  | How to raise the fire alarm. | Staff must know what the procedure is for raising the alarm, as well as customers, using self-catering accommodation. |  | yes | 0 | " |  | 2025-06-01
|  | Fire prevention including housekeeping. | Housekeeping is an essential part of fire prevention. Staff should be aware that they have an important role in ensuring good housekeeping by preventing the build up of rubbish, dust etc on surfaces. |  | yes | 0 | As part of this RA |  | 2025-06-01
|  | The arrangements in place for calling the fire brigade. | With the exception of sites that have automatic call out systems, all other sites will have a duty manager as the main contact. Self-catering buildings are instructed to call the fire brigade, and then the DM. |  | yes | 0 |  |  | 2025-06-01
|  | The importance of fire check doors. | Staff must be made aware of the importance of fire doors and the need to keep them closed (unless they are on automatic release mechanisms). They should be aware of how the auto release mechanisms operate so that they can report faulty equipment. |  | Na | 0 |  |  | 2025-06-01
|  | Is a record kept of staff who have completed the fire training? | Records should be kept of all staff training including those present for fire drills. This will identify whether any staff have missed training. Training should be completed annually. |  | na | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
D6 | Conditions applying to fire risk assessment are being enforced | Risk assessment held on site. | Copies of this risk assessment must be kept on site and available to see as a hard copy and an electronic copy for review purposes. |  | yes | 0 | It is also available on the website |  | 2025-06-01
|  | Do you have an emergency procedure other than for fire? | There should be an emergency procedure for other incidents to fire such as power failure, flooding, structural damage, terrorist threats etc. |  | yes | 0 |  |  | 2025-06-01
|  | Is your alarm where the tones can be changed? | Some systems have alarms were there are different tones which can indicate different actions. None of the Girlguiding sites have this as part of their systems. |  | na | 0 |  |  | 2025-06-01
|  | Are fire safety conditions imposed upon external and internal contractors? | All contractors are required to follow emergency procedures. As part of their induction, they will receive a briefing on specific requirements, and if hot works are required, a PTW system is in place. |  | na | 0 |  |  | 2025-06-01
|  | Is the fire service and local authority notified prior to any structural changes planned for the building? | Any structural changes would require planning permission. A number of the buildings are listed and therefore even more stringent processes are required. |  | na | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
| Scoring: Any individual score of 2 must be addressed immediately. |  |  |  | Total | 0
Low risk
Medium risk
High risk
0-3
7-10
4-6

## Test & main control
Section E - TESTING AND MAINTENANCE
Ref | Section E | Maintenance & testing | Advice | PREF ANS | YES / NO / NA | Score | Comments | Actions required | Actions completed
E1 | Fire doors and escape routes | Do fire doors meet legislative requirements and are subject to inspection & maintenance regimes? | Where there are older buildings old doors installed originally would have been compliant, however, changes in BR may mean they are not up to present standards. If in good condition eg not warped or gapped, then these may still be compliant, but may need some updating which would include the frame and door furniture, intumescent paint/products etc. Changes in use would require doors certified FS30 or greater to be installed as per BR approved document B. All new fire doors should be CE marked and comply with BS EN 1634-1:2014 or BS parts 22&31, and BS EN1154 for door closers. | YES | yes | 0 | Although door are old they are all in good condition and well maintained. |  | 2025-06-01
|  | Are all internal fire compartment or internal doors on fire exit routes labelled as a 'Fire door' | Where doors are designed to form a barrier to fire and smoke, they must carry a blue & white notice showing the condition in which they should be left (eg 'Fire door - keep shut'). | YES | yes | 0 |  |  | 2025-06-01
|  | Are the self-closers on the fire door operating correctly. | A self closer is a device which is designed to ensure a door shuts properly after use. Some doors are held open and release on activation of the fire alarm. Self closures must comply with BS EN1154:1997. | YES | NA | 0 |  |  | 2025-06-01
|  | Is the fire door and frame fit for purpose when the door is closed? | Does the door fit the frame well? Is the glass intact? Are the brushes (or intumescent strips) in place all around the door (this is to stop smoke)? Are there any holes in the door? There should not be more than a 4mm gap (preferably 2mm) between the door and frame, otherwise the intumescent strip will not function properly. Comply to BS EN 1634. | YES | yes | 0 |  |  | 2025-06-01
|  | Considering the construction, are there any penetrations that might contribute to the spread of fire? | Look for penetrations where cables pass through compartment walls, particularly in plantrooms. Fire stopping products are available that will fill the gaps. | YES | na | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
E2 | Evacuation signage | Clear fire evacuation instructions posted for all hall users. | Action notices should be prominently displayed near exit routes and fire doors. | YES | yes | 0 | Escape routes marked by emergency lit signage and indicated on evacuation plan |  | 2025-06-01
|  | Are escape routes clearly identified using signage in accordance with legislation, leading to a safe place & are they regularly inspected to ensure that they're kept clear? | Fire escape routes must be kept clear at all times. Signage must be compliant with the Health & Safety (Safety Signs and Signals) Regulations 1996. They should provide a clear direction of escape from any point in the building, visible to reflect hazards. Signage for extinguishers (including operation) and action notices should be clear and unobstructed. | YES | yes | 0 |  |  | 2025-06-01
| Total |  |  |  |  | 0
E3 | Emergency lighting | Is the emergency lighting subject to inspection, testing & maintenance regimes? | Emergency lighting should be maintained and tested on a regular basis as part of a maintenance regime. The regime will be dictated by the type of emergency lighting installed eg self contained (single point). | YES |  | 0 | testing regime added to check out procedure |  | 2025-06-01
| Total |  |  |  |  | 0
E4 | Fire alarm systems | Fire alarm system installed and audible throughout the building. | Fire alarms systems must be audible to all occupants of the building. It is not a statutory requirement to have an automatic fire alarm system installed, unless there is sleeping accommodation in the building. | YES | yes | 0 | New manual call points and alarm installed April 2022 |  | 2025-06-01
|  | Automatic detectors installed where required. | Automatic smoke and heat detectors are installed in appropriate places, such as sleeping quarters, escape corridors. Storage areas, that may have flammables stored, or combustable materials, along with boiler houses, and commercial kitchens. | YES | yes | 0 | New interlinked lithium battery smoke alarms and heat detector installed in April 2022 |  | 2025-06-01
|  | System maintained by competent person. | Fire safety systems must be installed and maintained by competent people. This is usually specialist contractors, who install and maintain these systems all the time. | YES | yes | 0 | Installed by electrician and battery life is 10 years. |  | 2025-06-01
|  | Is the fire alarm tested as part of a weekly scheduled programme (labelled manual call points)? | The fire alarm system is required to be tested every week, via activating manual call points on a rota system. During this test, automatic door closures will need to be checked that they have activated, to ensure they have closed during the test. | YES | yes | 0 | This has been added to check out procedure |  | 2025-06-01
|  | Full inspection of alarm system carried out at least annually. | The alarm system will be required to be checked and serviced annually. Where there are many automatic detectors, 25% of these will be tested every 3 months. | YES | yes | 0 | The fire alarm system to be checked annually at the same time as the PAT testing. | To ask electrician to do this | 2025-06-01
|  | Clear operating instructions posted for employees, visitors and contractors. | There needs to be operating instructions placed next to the control panel, identifying how to operate the system, including, notifying the emergency services, and other personnel on site. | YES | na | 0 | There is no control panel with the system of lithium battery operated fire alarm - manual call points. Instructions re contacting emergency services are part of the fire management plan |  | 2025-06-01
| Total |  |  |  |  | 0
E5 | Records retained covering the maintenance and testing of fire fighting equipment | Are records kept covering the maintenance and testing of fire extinguishers, | Equipment should be inspected every 12 months (except where P50 foam/powder are installed), and have a label showing the date of inspection. | YES | yes | 0 | Recorded as part of the fire RA |  | 2025-06-01
| Total |  |  |  |  | 0
E6 | Records retained covering the maintenance and testing of fire prevention equipment | Are records kept covering the maintenance and testing of fire alarm weekly test? | A record is required of all weekly tests and other activations including false alarms and response by staff. | YES | yes | 0 | This is one of the weekly checks to be done as part of the check out procedure. |  | 2025-06-01
|  | Are records kept covering the maintenance and testing of the fire alarm annual service? | A competent person/contractor should be appointed to undertake the servicing of the fire alarm system, to the manufacturers recommendations. When contractors carry out maintenance they should either sign the record book with an outline of what work was carried out or provide an engineers report sheet, with all the details of what was carried out. | YES | yes | 0 |  |  | 2025-06-01
|  | Are records kept covering the maintenance and checking of fire check doors? | If they are certified fire doors, check the certification which will be located on the top edge of the door, they should also be CE marked. Other doors that were installed many years previously, and at the time were compliant may still be capable of resisting fire for 30 minutes. Formal 6 monthly checks should be carried out to ensure the integrity of fire doors. Where appropriate if faults found, action should be carried out and recorded. | YES | yes | 0 | They are not certified fire doors but solid doors capable of resisting fire for a short time. They are labelled as fire doors even though they are not "certified". |  | 2025-06-01
|  | Are dry risers provided and are these serviced and tested? | Dry risers are only present in the HQ building. Dry risers, should have fire doors installed at every level, with an automatic smoke detector at the highest level. This should be clear of any storage items, and accessible for maintenance purposes. | YES | na | 0 |  |  | 2025-06-01
|  | Are records kept covering the maintenance and testing of riser doors. | Riser doors are required to be checked every 6 months, the same as other fire check doors. | YES | na | 0 |  |  | 2025-06-01
|  | Records kept covering the maintenance and testing of steel shutter doors. | Testing is required for any automatic operated steel shutters. Safety devices must be fiitted to automatic powered roller shutters, to comply with Regulation 5 and 18 of Workplace (HSW) Regs 1992, and the RRFSO 2005. And comply with BSEN 12635:2002. | NA | na | 0 |  |  | 2025-06-01
|  | Records kept covering the maintenance and testing of smoke extraction systems. | Smoke extraction systems, should operate on activation of the fire alarm system, and are required to be checked and serviced in line with BS9999. | NA | na | 0 |  |  | 2025-06-01
|  | Records kept on the maintenance of kitchen extractors/ductwork, incl emergency gas interlock shut off systems. | Kitchen ductwork requires to be serviced and deep cleaned on an annual basis. Emergency gas shut down systems require to be serviced annually and tested on a weekly basis. |  | yes | 0 | No gas on premises. Cooker extractor is domestic type with no outside exit and is cleaned regularly. |  | 2022-06-01
| Total |  |  |  |  | 0
| Scoring: Any individual score of 2 and above must be addressed immediately |  |  |  | Total | 0
Low risk
Medium risk
High risk
0-2
3-5
6-10

## Actions
Action plan
Section ref. | Corrective actions required | Priority | Action owner | Closed date
A3 | Does immersion heater need to be serviced? Answer from electrician and plumber - NO |  | Carol | 2022-05-13
A4 | Electrical items need PAT testing | Urgent | Lesley | 2022-05-13
A5 | " | Urgent | Lesley | 2022-05-13
B9 | Age of beds in leaders room unknown, check fire resistance | Urgent | Carol | 2022-12-01
D6 | Require a plan for other emergencies such as flood, power failure |  | Carol | 2022-06-10
E1 | "Fire doors" require stickers saying leave closed fire door |  | Carol | 2022-06-21
A2 | New multi-fuel stove installed in main hall to replace open fire. New instructions and RA to be updated. Users to be informed of change and the need to read the instrucion booklet kept by the fireplace. | Urgent | Carol | 2025-06-13

## Periodic review
Fire risk assessment periodic review form
Location: | Ladenford Den
Date of review: | Every April and September
Persons present:
Name: | Signature:
Carol Edwards
Significant findings | Remedial actions | Action owner | Action by date | Action completed date
Beds in leaders room checked | none required | Carol | Urgent | 2022-12-01
No change to other points | none | Carol |  | 2022-09-01
No change | none | Carol |  | 2023-04-01
No changes | none | Carol |  | 2023-09-01
No changes | none | Carol |  | 2024-04-01
No changes | none | Carol |  | 2025-04-01
No changes, except add stove | none | Carol |  | 2025-06-01
| none | Carol |  | 2025-10-01
Periodic review signed off (all actions complete)

## Floor plans & photos
Place plans and photos on this sheet

## General notice
General Notice
Any queries regarding this notice should be referred to the Ladenford Den Committee
Date: 22/4/22
Subject: Fire Risk Assessment at Ladenford Den
It is the responsibility of all site managers to ensure that relevant General Notices are brought to
the attention of their staff. However individuals remain responsible for their own actions and
those who are in any doubt should consult their supervisor or manager.
1. Introduction
1.1 This instruction relates to The Regulatory Reform (Fire Safety) Order 2005 ("the Order").
1.2 The Order introduced fire safety rules affecting all non-domestic premises in England and Wales
and became law on 1st October 2006.
1.3 The Order makes individual companies responsible for their own fire safety and they will be expected
to carry out a fire risk assessment in relation to their premises and to train their employees in the
appropriate fire procedures for the site they work at.
1.4 The Order requires that fire precautions such as fire fighting equipment, fire detection and warning and
conditions relating to emergency routes and exits should be provided and maintained by a responsible
person to reasonably protect relevant persons (which means any person including a responsible
person who is, or may be legally on the premises and any person in the immediate vicinity of the
premises who is at risk from a fire on the premises).
2. Responsibilities of Girlguiding at managed sites
2.1 It is the responsibility and legal duty of anyone in control of any non-domestic premises to:-
2.1.1 provide sufficient general fire precautions - fire fighting and fire detection, emergency routes and
exits and their maintenance, including measures to reduce the effects of fire. They also include
safety measures to prevent or reduce the risk of fire arising directly from a work process (including
the storage and use of dangerous substances goods or materials) or to reduce its intensity.
Reduction of risks remains the overall objective of the Order to ensure that relevant persons are
safe from fire;
2.1.2 provide measures to reduce the risk of fire and the spread of fire on the premises;
2.1.3 provide means of escape from the premises which can be effectively and safely used; and
2.1.4 undertake a fire risk assessment of the premises in order to identify and assess how fire risks can
be minimized and the necessary precautions to safeguard all those who may be affected by a fire
on the premises. A risk assessment should be reviewed regularly by the responsible person to keep
it up to date, valid and to reflect any significant changes that may have taken place.
2.2 A fire risk assessment must:-
2.2.1 include measures taken or to be taken e.g. training and maintenance consultation and
coordination and any group of persons identified as being especially at risk;
2.2.2 train staff to ensure that they are familiar with risks and understand the concept of reducing and
managing risks;
2.2.3 ensure that the correct equipment and support is available in order to deal effectively with
incidents;
2.2.4 identify the risk from fire, who may be affected and any control measures necessary to reduce the
risk to its lowest level.
The significant findings from the fire risk assessment must be recorded and provided to any
affected relevant persons
2.3 Fire training must:
2.3.1 be provided to all employees and contract staff when they start working for you, and then on an
annual basis;
2.3.2 contain appropriate information and instruction about the general fire precautions relevant to
your workplace and local area, including:-
2.3.2.1 an overview of the facilities and general fire precautions established by your fire risk
assessment;
2.3.2.2 what to do in the event of a fire;
2.3.2.3 how to raise the alarm;
2.3.2.4 what to do if you hear an alarm;
2.3.2.5 how to contact the emergency services;
2.3.2.6 the location and if appropriate, the use of portable fire extinguishers;
2.3.2.7 the procedures for evacuating your premises including the location of escape routes and
assembly areas.
2.3.3 additional training may be necessary for employees with specific duties in the event of a fire e.g.
fire wardens.
3. Enforcement
The Order is enforced by the Local Fire Authority and failure to provide suitable general fire precautions
could lead to severe penalties which could include fines or in the most serious cases prison terms.
4. Action required
4.1 Fire risk assessments must be carried out every year or following significant changes to your
accommodation, personnel or processes.
4.2 Fire training must be carried out annually and confirmed with the Girlguiding H&S manager
5. Advice and questions
Advice for people responsible for their premises in relation to fire risk assessment is available in the
following communities and local government documents. The documents are available to download at no
cost, from the Communities and Local Government website www.communities.gov.uk/fire/firesafetylaw.
Fire safety risk assessment – offices and shops
Fire safety risk assessment –transport premises and facilities.
Fire risk assessment documents can be obtained from the Ladenford Committee
Any questions concerning this notice should be referred to the Ladenford Committee
Issued on behalf of Carol Edwards
Full distribution
Queries relating to this general notice should be directed to the contact(s) as mentioned in this notice.
To advise any amendments, additions or deletions to the Girlguiding general notice distribution list
please contact Carol Edwards tel:07903122714; email: CJEPanmure@aol.com